BPM Objective 5 Test

Read the case study below and answer the questions about lighting retrofit.

You have just completed an audit of a local store with 3,000 square feet of conditioned floor space.  You found out that the store hours are Monday through Friday (52 weeks a year, or a total of 260 days per year), from 9am to 6pm.  You found that there are one hundred (100) T-12 fluorescent tube lamps (assume they use 48 watts each including ballast consumption) that are in use during store hours.  Light levels throughout the store were measured and found to be appropriate.  Refer to the Lighting Information table below for lighting use and cost data.

| Tube Type | Power Consumption | Replacement Cost |
| --- | --- | --- |
| T-12 fluorescent tube w/ballast | 48 Watts each | $5.00 each |
| T-8 fluorescent tube w/ ballast | 34 Watts each | $8.75 each |

Based on your audit:

- Determine the annual energy use of the existing lighting system (in kWhr and $, assuming an electricity cost of $0.08/kWhr).

- Determine the lighting index for the store in Watts/square foot.

- Select replacement lighting and estimate annual energy use of the new system (in kWhr and $, again assuming an electricity cost of $0.08/kWhr).

- Estimate the cost of retrofitting the lighting system.

- Estimate a simple payback for the retrofit.

- Determine what the new lighting index would be for the store in Watts/square foot.

- Assuming a 4-year simple payback is acceptable, is the lighting retrofit cost-effective? What do you recommend to the storeowner?